## TestCases
Case ID | Scenario | Actual Label | Expected Attack Type | Source IP | Function Code | Machine Register | Requested Value | Signature Mode | Repeat Count | Seconds Since Last Settle | Current TANK_PRESSURE | Current CONVEYOR_SPEED | Current COOLING_VALVE | Current HEATER_TEMP | Current FEED_PUMP | Current RELIEF_VALVE | Pending Setpoints (JSON) | Description | Cyber Verdict | Cyber Reason | Physical Verdict | Physical Reason | Final Decision | Orchestrator Reason | Detected Attack Type | Predicted Label | Outcome
N01 | Operator pressure step | NORMAL | - | 127.0.0.1 | 16 | TANK_PRESSURE | 51 | valid | 1 | 12 | 50 | 0 | 45 | 60 | 40 | 45 |  | 50 -> 51 PSI signed operator step | PASS | OK | PASS | OK | PASS | OK | - | NORMAL | TN
N02 | Operator conveyor step | NORMAL | - | 127.0.0.1 | 16 | CONVEYOR_SPEED | 2 | valid | 1 | 12 | 50 | 0 | 45 | 60 | 40 | 45 |  | 0 -> 2 RPM | PASS | OK | PASS | OK | PASS | OK | - | NORMAL | TN
N03 | Operator cooling step | NORMAL | - | 127.0.0.1 | 16 | COOLING_VALVE | 46 | valid | 1 | 12 | 50 | 0 | 45 | 60 | 40 | 45 |  | 45 -> 46 deg | PASS | OK | PASS | OK | PASS | OK | - | NORMAL | TN
N04 | Operator heater step | NORMAL | - | 127.0.0.1 | 16 | HEATER_TEMP | 61 | valid | 1 | 12 | 50 | 0 | 45 | 60 | 40 | 45 |  | 60 -> 61 C | PASS | OK | PASS | OK | PASS | OK | - | NORMAL | TN
N05 | Operator feed pump step | NORMAL | - | 127.0.0.1 | 16 | FEED_PUMP | 41 | valid | 1 | 12 | 50 | 0 | 45 | 60 | 40 | 45 |  | 40 -> 41 % | PASS | OK | PASS | OK | PASS | OK | - | NORMAL | TN
N06 | Operator relief valve step | NORMAL | - | 127.0.0.1 | 16 | RELIEF_VALVE | 46 | valid | 1 | 12 | 50 | 0 | 45 | 60 | 40 | 45 |  | 45 -> 46 deg | PASS | OK | PASS | OK | PASS | OK | - | NORMAL | TN
N07 | Heater high with cooling open | NORMAL | - | 127.0.0.1 | 16 | HEATER_TEMP | 112 | valid | 1 | 10 | 50 | 0 | 60 | 102 | 40 | 45 |  | Legitimate multi-register combination: hot reactor but adequate cooling | PASS | OK | PASS | OK | PASS | OK | - | NORMAL | TN
N08 | Pump high with relief open | NORMAL | - | 127.0.0.1 | 16 | FEED_PUMP | 75 | valid | 1 | 10 | 50 | 0 | 45 | 60 | 65 | 50 |  | Legitimate multi-register combination: high feed with relief path open | PASS | OK | PASS | OK | PASS | OK | - | NORMAL | TN
N09 | Relief nearly closed at low feed | NORMAL | - | 127.0.0.1 | 16 | RELIEF_VALVE | 12 | valid | 1 | 10 | 50 | 0 | 45 | 60 | 40 | 45 |  | Relief low is safe because feed pump is low | PASS | OK | PASS | OK | PASS | OK | - | NORMAL | TN
N10 | Cooling low at moderate heat | NORMAL | - | 127.0.0.1 | 16 | COOLING_VALVE | 20 | valid | 1 | 10 | 50 | 0 | 30 | 80 | 40 | 45 |  | Cooling low is safe because heater setpoint is moderate | PASS | OK | PASS | OK | PASS | OK | - | NORMAL | TN
N11 | Pressure up with warm heater | NORMAL | - | 127.0.0.1 | 16 | TANK_PRESSURE | 86 | valid | 1 | 5 | 80 | 0 | 45 | 110 | 40 | 45 |  | Below HOT_PRESSURIZED_VESSEL heater threshold (125 C) | PASS | OK | PASS | OK | PASS | OK | - | NORMAL | TN
N12 | Corrective move out of unsafe state | NORMAL | - | 127.0.0.1 | 16 | FEED_PUMP | 75 | valid | 1 | 10 | 50 | 0 | 45 | 60 | 80 | 10 |  | Plant already in OVERPRESSURE combination; operator reduces pump | PASS | OK | PASS | OK | PASS | OK | - | NORMAL | TN
N13 | Large move after long idle | NORMAL | - | 127.0.0.1 | 16 | CONVEYOR_SPEED | 80 | valid | 1 | 10 | 50 | 0 | 45 | 60 | 40 | 45 |  | 0 -> 80 RPM, plant had 10 s to reach it (rate 10 RPM/s) | PASS | OK | PASS | OK | PASS | OK | - | NORMAL | TN
N14 | Second trusted SCADA host | NORMAL | - | 192.168.1.10 | 16 | COOLING_VALVE | 46 | valid | 1 | 12 | 50 | 0 | 45 | 60 | 40 | 45 |  | Signed command from the other whitelisted SCADA address | PASS | OK | PASS | OK | PASS | OK | - | NORMAL | TN
N15 | Pressure and heat both high but below limits | NORMAL | - | 127.0.0.1 | 16 | HEATER_TEMP | 124 | valid | 1 | 10 | 84 | 0 | 60 | 115 | 40 | 45 |  |  | PASS | OK | PASS | OK | PASS | OK | - | NORMAL | TN
N16 | Fast conveyor, moderate pressure | NORMAL | - | 127.0.0.1 | 16 | CONVEYOR_SPEED | 110 | valid | 1 | 5 | 80 | 100 | 45 | 60 | 40 | 45 |  |  | PASS | OK | PASS | OK | PASS | OK | - | NORMAL | TN
N17 | Cooling reduced at normal pressure | NORMAL | - | 127.0.0.1 | 16 | COOLING_VALVE | 44 | valid | 1 | 5 | 30 | 0 | 60 | 60 | 40 | 45 |  |  | PASS | OK | PASS | OK | PASS | OK | - | NORMAL | TN
N18 | Emergency fast cooling open | NORMAL | - | 127.0.0.1 | 16 | COOLING_VALVE | 80 | valid | 1 | 1 | 50 | 0 | 45 | 60 | 40 | 45 |  | Legitimate emergency action faster than the valve ramp (edge case) | PASS | OK | FAIL | RATE_OF_CHANGE_EXCEEDED:COOLING_VALVE Δ35.00 > max 5.50 in 1.000s | DROP | RATE_OF_CHANGE_EXCEEDED:COOLING_VALVE Δ35.00 > max 5.50 in 1.000s | Rate-of-Change Violation | ATTACK | FP
N19 | Short operator burst | NORMAL | - | 127.0.0.1 | 16 | RELIEF_VALVE | 46 | valid | 3 | 12 | 50 | 0 | 45 | 60 | 40 | 45 |  | 3 quick legitimate adjustments (below 5 req/s) | PASS | OK | PASS | OK | PASS | OK | - | NORMAL | TN
N20 | Operator relief step | NORMAL | - | 127.0.0.1 | 16 | RELIEF_VALVE | 51 | valid | 1 | 12 | 50 | 0 | 45 | 60 | 40 | 50 |  |  | PASS | OK | PASS | OK | PASS | OK | - | NORMAL | TN
A01 | Unsigned command | ATTACK | Missing HMAC (Unsigned Command) | 127.0.0.1 | 6 | COOLING_VALVE | 46 | missing | 1 | 12 | 50 | 0 | 45 | 60 | 40 | 45 |  | Plain FC6 write with no HMAC | FAIL | HMAC_MISSING:command carried no HMAC signature | PASS | OK | DROP | HMAC_MISSING:command carried no HMAC signature | Missing HMAC (Unsigned Command) | ATTACK | TP
A02 | Value tampered in transit | ATTACK | Tampered / Forged HMAC | 127.0.0.1 | 16 | HEATER_TEMP | 61 | tampered | 1 | 12 | 50 | 0 | 45 | 60 | 40 | 45 |  | Signed 61 C, value changed to 140 C, original tag kept | FAIL | HMAC_INVALID:HMAC tag does not match command (tampered or wrong key) | FAIL | RATE_OF_CHANGE_EXCEEDED:HEATER_TEMP Δ80.00 > max 66.00 in 12.000s | DROP | HMAC_INVALID:HMAC tag does not match command (tampered or wrong key) | Tampered / Forged HMAC | ATTACK | TP
A03 | Forged signature | ATTACK | Tampered / Forged HMAC | 127.0.0.1 | 16 | COOLING_VALVE | 46 | wrong_key | 1 | 12 | 50 | 0 | 45 | 60 | 40 | 45 |  | Signed with an attacker-chosen key | FAIL | HMAC_INVALID:HMAC tag does not match command (tampered or wrong key) | PASS | OK | DROP | HMAC_INVALID:HMAC tag does not match command (tampered or wrong key) | Tampered / Forged HMAC | ATTACK | TP
A04 | Delayed replay (expired) | ATTACK | Expired Signature (Delayed Replay) | 127.0.0.1 | 16 | CONVEYOR_SPEED | 2 | expired | 1 | 12 | 50 | 0 | 45 | 60 | 40 | 45 |  | Correct signature, timestamp 5 minutes old | FAIL | HMAC_EXPIRED:signed timestamp outside +/-30s freshness window | PASS | OK | DROP | HMAC_EXPIRED:signed timestamp outside +/-30s freshness window | Expired Signature (Delayed Replay) | ATTACK | TP
A05 | Immediate replay | ATTACK | Replay | 127.0.0.1 | 16 | CONVEYOR_SPEED | 2 | replayed | 1 | 12 | 50 | 0 | 45 | 60 | 40 | 45 |  | Byte-identical signed frame sent twice; second is evaluated | FAIL | REPLAY_DETECTED:nonce reused | PASS | OK | DROP | REPLAY_DETECTED:nonce reused | Replay | ATTACK | TP
A06 | Malformed signed frame | ATTACK | Malformed Signed Frame | 127.0.0.1 | 16 | COOLING_VALVE | 46 | malformed | 1 | 12 | 50 | 0 | 45 | 60 | 40 | 45 |  | Truncated HMAC tag | FAIL | HMAC_MALFORMED:HMAC tag has wrong length | PASS | OK | DROP | HMAC_MALFORMED:HMAC tag has wrong length | Malformed Signed Frame | ATTACK | TP
A07 | Rogue host with stolen key | ATTACK | Untrusted Source | 10.0.0.99 | 16 | COOLING_VALVE | 46 | valid | 1 | 12 | 50 | 0 | 45 | 60 | 40 | 45 |  | Valid signature but connection from a non-SCADA address | FAIL | UNTRUSTED_SOURCE | PASS | OK | DROP | UNTRUSTED_SOURCE | Untrusted Source | ATTACK | TP
A08 | Probe of unmapped register | ATTACK | Invalid Register Access | 127.0.0.1 | 16 | 7 | 10 | valid | 1 | 12 | 50 | 0 | 45 | 60 | 40 | 45 |  | Write to address 7 (no such machine) | FAIL | INVALID_REGISTER | FAIL | UNKNOWN_REGISTER:7 | DROP | INVALID_REGISTER | Invalid Register Access | ATTACK | TP
A09 | Invalid function code | ATTACK | Invalid Function Code | 127.0.0.1 | 5 | CONVEYOR_SPEED | 2 | valid | 1 | 12 | 50 | 0 | 45 | 60 | 40 | 45 |  | FC5 (write coil) against a holding register | FAIL | INVALID_FUNCTION_CODE | PASS | OK | DROP | INVALID_FUNCTION_CODE | Invalid Function Code | ATTACK | TP
A10 | Command flood | ATTACK | Flood / Rate Limit | 127.0.0.1 | 16 | CONVEYOR_SPEED | 2 | valid | 8 | 12 | 50 | 0 | 45 | 60 | 40 | 45 |  | 8 signed commands in < 1 s; last one evaluated | FAIL | RATE_LIMIT_EXCEEDED | PASS | OK | DROP | RATE_LIMIT_EXCEEDED | Flood / Rate Limit | ATTACK | TP
A11 | Impossible tank pressure | ATTACK | Impossible Command (Out of Bounds) | 127.0.0.1 | 16 | TANK_PRESSURE | 999 | valid | 1 | 12 | 50 | 0 | 45 | 60 | 40 | 45 |  |  | PASS | OK | FAIL | OUT_OF_BOUNDS:TANK_PRESSURE=999.00 (allowed 0–100) | DROP | OUT_OF_BOUNDS:TANK_PRESSURE=999.00 (allowed 0–100) | Impossible Command (Out of Bounds) | ATTACK | TP
A12 | Impossible heater temperature | ATTACK | Impossible Command (Out of Bounds) | 127.0.0.1 | 16 | HEATER_TEMP | 180 | valid | 1 | 12 | 50 | 0 | 45 | 60 | 40 | 45 |  |  | PASS | OK | FAIL | OUT_OF_BOUNDS:HEATER_TEMP=180.00 (allowed 0–150) | DROP | OUT_OF_BOUNDS:HEATER_TEMP=180.00 (allowed 0–150) | Impossible Command (Out of Bounds) | ATTACK | TP
A13 | Physically impossible ramp | ATTACK | Rate-of-Change Violation | 127.0.0.1 | 16 | CONVEYOR_SPEED | 100 | valid | 1 | 0.2 | 50 | 0 | 45 | 60 | 40 | 45 |  | 0 -> 100 RPM in 0.2 s | PASS | OK | FAIL | RATE_OF_CHANGE_EXCEEDED:CONVEYOR_SPEED Δ100.00 > max 2.20 in 0.200s | DROP | RATE_OF_CHANGE_EXCEEDED:CONVEYOR_SPEED Δ100.00 > max 2.20 in 0.200s | Rate-of-Change Violation | ATTACK | TP
A14 | Thermal runaway via heater | ATTACK | Cross-Register Correlation | 127.0.0.1 | 16 | HEATER_TEMP | 112 | valid | 1 | 10 | 50 | 0 | 20 | 102 | 40 | 45 |  | Each value safe alone; heater 112 + cooling 20 is unsafe | PASS | OK | FAIL | CROSS_REGISTER_VIOLATION:THERMAL_RUNAWAY:HEATER_TEMP=112.0>=110 & COOLING_VALVE=20.0<=25 (heater setpoint high while cooling valve nearly closed - heat cannot be removed) | DROP | CROSS_REGISTER_VIOLATION:THERMAL_RUNAWAY:HEATER_TEMP=112.0>=110 & COOLING_VALVE=20.0<=25 (heater setpoint high while cooling valve nearly closed - heat cannot be removed) | Cross-Register Correlation | ATTACK | TP
A15 | Thermal runaway via cooling valve | ATTACK | Cross-Register Correlation | 127.0.0.1 | 16 | COOLING_VALVE | 24 | valid | 1 | 10 | 50 | 0 | 30 | 115 | 40 | 45 |  |  | PASS | OK | FAIL | CROSS_REGISTER_VIOLATION:THERMAL_RUNAWAY:HEATER_TEMP=115.0>=110 & COOLING_VALVE=24.0<=25 (heater setpoint high while cooling valve nearly closed - heat cannot be removed) | DROP | CROSS_REGISTER_VIOLATION:THERMAL_RUNAWAY:HEATER_TEMP=115.0>=110 & COOLING_VALVE=24.0<=25 (heater setpoint high while cooling valve nearly closed - heat cannot be removed) | Cross-Register Correlation | ATTACK | TP
A16 | Overpressure via feed pump | ATTACK | Cross-Register Correlation | 127.0.0.1 | 16 | FEED_PUMP | 75 | valid | 1 | 10 | 50 | 0 | 45 | 60 | 65 | 10 |  |  | PASS | OK | FAIL | CROSS_REGISTER_VIOLATION:OVERPRESSURE:FEED_PUMP=75.0>=70 & RELIEF_VALVE=10.0<=15 (feed pump driving flow into tank while relief valve nearly closed - tank cannot vent) | DROP | CROSS_REGISTER_VIOLATION:OVERPRESSURE:FEED_PUMP=75.0>=70 & RELIEF_VALVE=10.0<=15 (feed pump driving flow into tank while relief valve nearly closed - tank cannot vent) | Cross-Register Correlation | ATTACK | TP
A17 | Overpressure via pending setpoint | ATTACK | Cross-Register Correlation | 127.0.0.1 | 16 | FEED_PUMP | 75 | valid | 1 | 10 | 50 | 0 | 45 | 60 | 65 | 40 | {"RELIEF_VALVE": 10.0} | Relief telemetry still 40 but an approved setpoint of 10 is ramping | PASS | OK | FAIL | CROSS_REGISTER_VIOLATION:OVERPRESSURE:FEED_PUMP=75.0>=70 & RELIEF_VALVE=10.0<=15 (feed pump driving flow into tank while relief valve nearly closed - tank cannot vent) | DROP | CROSS_REGISTER_VIOLATION:OVERPRESSURE:FEED_PUMP=75.0>=70 & RELIEF_VALVE=10.0<=15 (feed pump driving flow into tank while relief valve nearly closed - tank cannot vent) | Cross-Register Correlation | ATTACK | TP
A18 | Hot pressurized vessel | ATTACK | Cross-Register Correlation | 127.0.0.1 | 16 | TANK_PRESSURE | 86 | valid | 1 | 5 | 80 | 0 | 45 | 130 | 40 | 45 |  |  | PASS | OK | FAIL | CROSS_REGISTER_VIOLATION:HOT_PRESSURIZED_VESSEL:TANK_PRESSURE=86.0>=85 & HEATER_TEMP=130.0>=125 (tank pressure and heater temperature both near limits at the same time) | DROP | CROSS_REGISTER_VIOLATION:HOT_PRESSURIZED_VESSEL:TANK_PRESSURE=86.0>=85 & HEATER_TEMP=130.0>=125 (tank pressure and heater temperature both near limits at the same time) | Cross-Register Correlation | ATTACK | TP
A19 | Valve slam at low pressure | ATTACK | Cross-Register Correlation | 127.0.0.1 | 16 | COOLING_VALVE | 30 | valid | 1 | 10 | 8 | 0 | 60 | 60 | 40 | 45 |  |  | PASS | OK | FAIL | CROSS_REGISTER_VIOLATION:VALVE_CLOSING_LOW_PRESSURE:valve closing sharply with tank pressure already low | DROP | CROSS_REGISTER_VIOLATION:VALVE_CLOSING_LOW_PRESSURE:valve closing sharply with tank pressure already low | Cross-Register Correlation | ATTACK | TP
A20 | Conveyor max at pressure limit | ATTACK | Cross-Register Correlation | 127.0.0.1 | 16 | CONVEYOR_SPEED | 110 | valid | 1 | 5 | 95 | 100 | 45 | 60 | 40 | 45 |  |  | PASS | OK | FAIL | CROSS_REGISTER_VIOLATION:CONVEYOR_PRESSURE_OVERLOAD:conveyor near max speed while tank pressure near limit | DROP | CROSS_REGISTER_VIOLATION:CONVEYOR_PRESSURE_OVERLOAD:conveyor near max speed while tank pressure near limit | Cross-Register Correlation | ATTACK | TP
A21 | Insider setpoint drift | ATTACK | Stealthy In-Bounds Manipulation | 127.0.0.1 | 16 | CONVEYOR_SPEED | 90 | valid | 1 | 5 | 50 | 80 | 45 | 60 | 40 | 45 |  | Compromised HMI nudges conveyor within all limits (edge case) | PASS | OK | PASS | OK | PASS | OK | - | NORMAL | FN
A22 | First step of low-and-slow correlation attack | ATTACK | Cross-Register Correlation | 127.0.0.1 | 16 | HEATER_TEMP | 70 | valid | 1 | 10 | 50 | 0 | 20 | 60 | 40 | 45 |  | Individually safe preparatory step of the A14 attack (edge case) | PASS | OK | PASS | OK | PASS | OK | - | NORMAL | FN

## Results
Industrial Mind - System Efficiency Results
Evaluated 2026-09-23T17:04:37 over TestCases rows 2-43. Positive class = ATTACK. Formulas recalculate from TestCases.
Metric | Value (Excel formula) | Value (evaluate_system.py) | Check | Definition
Total Cases | 42 | 42 | OK | labelled cases
Actual Attacks | 22 | 22 | OK | Actual Label = ATTACK
Actual Normal | 20 | 20 | OK | Actual Label = NORMAL
TP | 20 | 20 | OK | attack correctly dropped
TN | 19 | 19 | OK | normal command correctly passed
FP | 1 | 1 | OK | normal command wrongly dropped
FN | 2 | 2 | OK | attack wrongly passed
Accuracy | 92.86% | 92.86% | OK | (TP+TN)/(TP+TN+FP+FN)
Precision | 95.24% | 95.24% | OK | TP/(TP+FP)
Recall | 90.91% | 90.91% | OK | TP/(TP+FN)
F1-score | 93.02% | 93.02% | OK | 2*Precision*Recall/(Precision+Recall)
Detection Rate | 90.91% | 90.91% | OK | attacks detected / all attacks (= Recall)
False Positive Rate | 5% | 5% | OK | FP/(FP+TN)
Specificity | 95% | 95% | OK | TN/(TN+FP)
Detection by attack type
Expected Attack Type | Attack Cases | Detected (DROP) | Detection Rate
Cross-Register Correlation | 8 | 7 | 87.5%
Expired Signature (Delayed Replay) | 1 | 1 | 100%
Flood / Rate Limit | 1 | 1 | 100%
Impossible Command (Out of Bounds) | 2 | 2 | 100%
Invalid Function Code | 1 | 1 | 100%
Invalid Register Access | 1 | 1 | 100%
Malformed Signed Frame | 1 | 1 | 100%
Missing HMAC (Unsigned Command) | 1 | 1 | 100%
Rate-of-Change Violation | 1 | 1 | 100%
Replay | 1 | 1 | 100%
Stealthy In-Bounds Manipulation | 1 | 0 | 0%
Tampered / Forged HMAC | 2 | 2 | 100%
Untrusted Source | 1 | 1 | 100%

## Confusion Matrix
Confusion Matrix (positive class = ATTACK)
Actual \ Predicted | Predicted ATTACK | Predicted NORMAL | Total
Actual ATTACK | 20 | 2 | 22
Actual NORMAL | 1 | 19 | 20
Total | 21 | 21 | 42
TP = Actual ATTACK & Predicted ATTACK · FN = Actual ATTACK & Predicted NORMAL · FP = Actual NORMAL & Predicted ATTACK · TN = Actual NORMAL & Predicted NORMAL

## README
Industrial Mind - System Efficiency Test Data
Blue columns (TestCases A..S) are INPUTS you may edit or extend with new rows.
Green columns are OUTPUTS written by evaluation/evaluate_system.py - do not edit by hand.
Actual Label is the ground truth: NORMAL or ATTACK. Positive class = ATTACK.
Predicted Label = ATTACK when the real Orchestrator decision is DROP, NORMAL when PASS.
Column meanings
Machine Register: machine name from docs/interfaces.MACHINES (e.g. HEATER_TEMP) or a raw address number.
Signature Mode: valid ¦ missing ¦ tampered ¦ wrong_key ¦ expired ¦ replayed ¦ malformed.
Repeat Count: number of back-to-back sends from the same source; the LAST one is evaluated (flood tests).
Seconds Since Last Settle: time the register has had to move since it last settled (rate-of-change check).
Current <MACHINE>: live PLC telemetry for each machine when the command arrives.
Pending Setpoints (JSON): approved targets still ramping, e.g. {"RELIEF_VALVE": 10}.
Example row
A14 ¦ heater 102 -> 112 C, cooling valve 20 deg, dt 10 s, valid signature ¦ Actual ATTACK
Rerun: python evaluation/evaluate_system.py
Results and Confusion Matrix sheets are rebuilt with Excel formulas over TestCases on every run.